{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["植物园各泵站信息","厦门园林植物园加压泵站一览表","植物园水池面积"],"read":"whole","date_system":"1900"}

{"sheet":"植物园各泵站信息","index":0,"n_rows":121,"n_cols":6,"rows_kept":121,"merged":[[0,0,0,5],[2,1,3,1],[4,1,5,1],[6,1,10,1],[11,1,16,1],[17,1,24,1],[25,1,30,1],[31,1,32,1],[33,1,41,1],[42,1,45,1],[46,1,47,1],[48,1,51,1],[52,1,53,1],[54,1,55,1],[56,1,57,1],[58,1,60,1],[61,1,63,1],[64,1,70,1],[71,1,75,1],[81,1,89,1],[90,1,93,1],[94,1,103,1],[95,5,97,5],[104,1,109,1],[110,1,120,1],[116,2,120,2]]}
["植物园各泵站信息"]
["序号","地点","货物名称","数量","型号","安装年份"]
[1,"文屏一级泵站","离心泵","2台","CDL32-9","2022-11-01"]
[2,null,"变频柜","1台","ASC510","2022-11-01"]
[3,"十二乡二级泵站","离心泵","2台","CDL32-9","2022-11-01"]
[4,null,"动力柜","1台","/","2022-11-01"]
[5,"万寿一级泵站","离心泵","2台","/TYPE HELIX FIRST V5205-5/25/E/KS/380-50","2022-02-01"]
[6,null,"变频柜","1台","ASC510"]
[7,null,"电源电动阀箱","1台"]
[8,null,"海尔空调2匹","1台"]
[9,null,"隔膜气压罐","1个"]
[10,"山茶园二级泵站","离心泵","4台","/TYPE HELIX FIRST V1610-5/16/E/KS/380-50"]
[11,null,"变频柜","2台","ASC510"]
[12,null,"电源电动阀箱","1台"]
[13,null,"隔膜气压罐","1个"]
[14,null,"监控箱","1台"]
[15,null,"海尔空调3匹","1台"]
[16,"文工团三级泵站","离心泵","4台","/TYPE HELIX FIRST V2207-5/16/E/S/380-50"]
[17,null,"离心泵","2台","/TYPE HELIX FIRST V2206-5/16/E/S/380-50"]
[18,null,"变频柜","3台","ASC510"]
[19,null,"电源电动阀箱","1台"]
[20,null,"隔膜气压罐","3个"]
[21,null,"监控箱","1台"]
[22,null,"电脑","1台"]
[23,null,"海尔空调3匹","1台"]
[24,"索道泵站","离心泵","2台","65RVMS32-160-2373-S1"]
[25,null,"离心泵","2台","33SV10G300T"]
[26,null,"离心泵","2台","50RVMS12-120-27.53-S1"]
[27,null,"变频柜","4台","XKX-1-37K-CR"]
[28,null,"变频柜","2台"]
[29,null,"海尔空调2匹","1台"]
[30,"东门消防泵站","水泵","1台","YE2-200LI-2"]
[31,null,"控制柜","1台"]
[32,"南门消防水池（上）泵站","水泵","2台","RML100-125（1）A-11"]
[33,null,"水泵","2台","RML80-100-3"]
[34,null,"控制箱","1台","XMKP D2-1"]
[35,null,"控制柜","1台","XL-21"]
[36,null,"消防控制箱","1台","ZG-XFZD"]
[37,null,"检修柜","1台"]
[38,null,"应急照明集中电源","1台","DJ-D-0.3kva-36"]
[39,null,"报警控制器 消防联动控制箱","1台","TB-QB-GST200"]
[40,null,"消防设备电源状态监控器","1台","GST-DJ-N500"]
[41,"西山喷灌泵站","45kw水泵","2台","TYPE-8RWF60HP"]
[42,null,"15KW水泵","1台"]
[43,null,"变频柜","1台","ABB-ACS510"]
[44,null,"隔膜气压罐","2个"]
[45,"东通道泵站（西山水库）","水泵","2台","CDMF20-7FSWQ"]
[46,null,"变频柜","1台","aALPHA-INV2"]
[47,"十二乡路口污水处理站","风机","2台","2SL4207AH46（斯洛德森）"]
[48,null,"水泵","2台","PHJ-1800JE","2022-02-01"]
[49,null,"加药桶","1套"]
[50,null,"控制系统","1套","ELT-MS300"]
[51,"九节点污水提升泵","污水泵","2台"]
[52,null,"控制柜","1台"]
[53,"文工团污水提升泵站","污水泵","2台"]
[54,null,"控制柜","1台"]
[55,"九纹群绿化灌溉泵站","水泵","2台","PC18520372-EVMSG57F5115"]
[56,null,"控制柜","1台"]
[57,"雨林后山消防泵站","潜水泵","2台"]
[58,null,"远程控制","1套"]
[59,null,"控制柜","1台"]
[60,"成功大道泵站","水泵","2台","CDL12-18FSWPC","21年"]
[61,null,"控制柜","1台"]
[62,null,"远程控制","1套"]
[63,"棕榈岛泵站","水泵","2台","0752C113"]
[64,null,"水泵","2台","SPH380-16+M10-55-2"]
[65,null,"水泵","2台"]
[66,null,"变频柜","2台"]
[67,null,"空调","1台","海尔 KJR-500W(2匹)"]
[68,null,"软启动","1台"]
[69,null,"远程控制","2套"]
[70,"十二乡路上泵站","水泵","2台","65CDL32-20-2","2023-08-01"]
[71,null,"水泵","5台","RHSOR"]
[72,null,"隔膜气压罐","1个"]
[73,null,"变频柜","1台","ABB-ACS510"]
[74,null,"控制柜","1台"]
[75,"十二乡路口（下）泵站","水泵","3台","65CDL32-20-2","2023-08-01"]
[76,null,"水泵","2台","RHSOR"]
[77,null,"隔膜气压罐","1个"]
[78,null,"变频柜","1台","ABB-ACS510"]
[79,null,"控制柜","1台"]
[80,"南门中水泵房","中水泵","3台","SPH380-16+M10-55-2","2021-09-01"]
[81,null,"远程控制","1套"]
[82,null,"变频柜","1台","ABB-ACS510"]
[83,null,"积水坑潜水泵","2台","65WQ18-20-1.5"]
[84,null,"潜水泵控制箱1台（壁柜）","1台","JXP-RC"]
[85,null,"二期消防泵","2台","3-225M-2"]
[86,null,"变频柜","1台","型号：ZXL-21","2022-05-01"]
[87,null,"控制柜","1台","型号：XMKPOZ-1"]
[88,null,"控制箱","2台","型号：XMKPOZ-1","2022-07-01"]
[89,"地下室积水坑潜水泵","地下1层积水坑潜水泵","1台","65WQ-18-20-1.5","2021-08-01"]
[90,null,"控制箱","1台","XHF-2L-3","2021-10-01"]
[91,null,"地下2层积水坑潜水泵","21台","65WQ-18-20-1.5"]
[92,null,"控制箱","11台","型号：XHF-2L-3","2021-10-01"]
[93,"南门循环水泵泵房","消防泵","2台"]
[94,null,"电机",null,"型号：TYPE MG160MB2-42FF300-H3","2021-10-01"]
[95,null,"水泵",null,"型号：CR32-6A-F-A-E-HQE"]
[96,null,"变频柜","1台","型号：ABB-ACS510"]
[97,null,"循环水泵","1台","型号：YE3-160M1-2"]
[98,null,"控制箱（壁挂）","1台"]
[99,null,"积水坑潜水泵","2台","型号：65WQ18-20-1.5"]
[100,null,"控制箱（壁挂）","1台"]
[null,null,"水箱 ","2台"]
[101,null," 隔膜气压罐","1个"]
[102,"南门自来水泵房","水泵","3台","电机：YE3-132S1-2    水泵：CDL15-70"]
[103,null,"变频柜","1台","XYF-1-3"]
[104,null,"积水坑潜水泵","2台","65WQ18-20-1.5","2021-08-01"]
[105,null,"积水坑潜水泵控制箱（壁挂）","1台"]
[106,null,"水箱自洁消毒器（壁挂）","1台","型号：FK-1APSB"]
[107,null,"水箱","4台"]
[108,"南门地下室消防泵房","泵1","2台","XBD6.0/40G-HY-45KW","2021-06-01"]
[109,null,"泵2","2台","XBD5.0/1.5W-L"]
[110,null,"泵3","2台","XBD5.0/20G-HY"]
[111,null,"泵4","2台","XBD6.0/10G-HY"]
[112,null,"泵5（积水坑潜水泵2台）",null,"65WQ18-20-1.5"]
[113,null,"积水坑控制箱（壁挂）","1台",null,"2021-09-01"]
[114,null,"水泵控制柜","1台","XYF-SDY-630"]
[115,null,null,"1台","XYF-KZO-18.5"]
[116,null,null,"1台","XYF-KZO-45"]
[117,null,null,"1台","XYF-KZO-15"]
[118,null,null,"1台","XYF-KZO-2.2"]

{"sheet":"厦门园林植物园加压泵站一览表","index":1,"n_rows":48,"n_cols":5,"rows_kept":48,"merged":[[0,0,0,5],[1,4,1,6],[2,1,4,1],[2,4,2,6],[3,4,3,6],[4,4,4,6],[5,1,7,1],[5,4,5,6],[6,4,6,6],[7,4,7,6],[8,4,8,6],[9,4,9,6],[10,1,12,1],[10,4,10,6],[11,4,11,6],[12,4,12,6],[13,4,13,6],[14,1,16,1],[14,4,14,6],[15,4,15,6],[16,4,16,6],[17,4,17,6],[18,4,18,6],[19,1,20,1],[19,4,19,6],[20,4,20,6],[21,4,21,6],[22,4,22,6],[23,4,23,6],[24,4,24,6],[25,4,25,6],[26,4,26,6],[27,4,27,6],[28,4,28,6],[29,4,29,6],[30,4,30,6],[31,4,31,6],[32,4,32,6],[33,4,33,6],[34,4,34,6],[35,4,35,6],[36,4,36,6],[37,4,37,6],[38,4,38,6],[39,4,39,6],[40,4,40,6],[41,4,41,6],[42,4,42,6],[43,4,43,6],[44,4,44,6],[45,4,45,6],[46,4,46,6],[47,4,47,6]]}
["厦门园林植物园加压泵站一览表"]
["序号","泵站名称","设备明细","数量（台）","备注"]
[1,"钟鼓隧道旁自来水泵站","37KW立式泵（抽烧烤营自来水池300立方米）",2]
[2,null,"30KW立式泵（抽新填地浇灌水池300+150立方米）",2]
[3,null,"7.5KW立式泵（万石湖加水）",2]
[4,"棕榈岛万石湖泵站","55KW潜水泵（新填地浇灌水池300+150立方米）",2]
[5,null,"55KW潜水泵（西山水库坝头浇灌水池300立方米）",2]
[6,null,"37KW潜水泵（半岭浇灌水池150立方米）",2]
[7,"万寿一级自来水泵站","18.5KW立式泵（抽山茶园自来水池150立方米）",2]
[8,"山茶园二级自来水泵站","7.5KW立式泵（抽山茶园自来水池150立方米）",4]
[9,"旧文工团三级自来水泵站","11KW立式泵（抽烧烤营自来水池300立方米）",2]
[10,null,"7.5KW潜水泵（新填地浇灌水池300+150立方米）",2]
[11,null,"11KW潜水泵（西山水库坝头浇灌水池300立方米）",2]
[12,"文屏路成功大道桥下自来水泵站","11KW立式泵（抽三角梅母种园自来水池150立方米）",2]
[13,"文曾路308油库旁自来水泵站","18.5KW立式泵（抽十二箱二级泵站自来水池30立方米）",2]
[14,null,"18.5KW立式泵（抽西山园自来水池150立方米）",2]
[15,null,"7.5KW潜水泵（抽东门自来水池30立方米）",2]
[16,"东通道消防水池泵站","30KW立式泵（抽东通道消防水池300立方米）",1]
[17,"南门一期自来水加压泵站","5.5KW立式泵（南门一期自来水池150立方米）",3]
[18,"南门二期及中水加压泵站","55KW潜水泵（东通道中水浇灌水池1000立方米）",3]
[19,null,"45KW立式泵（南门二期消防水池500立方米）",2]
[20,"南门一期绿地浇灌加压及循环水泵站","11KW立式泵（抽东宅坑水库）",5]
[21,"西山园绿地浇灌加压泵站","15KW+45KW潜水泵（抽西山水库）",3]
[22,"三角梅控花圃、东通道绿地浇灌泵站","7.5KW潜水泵（抽西山水库）",2]
[23,"南门地下消防泵站"]
[24,"南门二期观光电梯消防泵站","两台3KW，两台11KW",4]
[25,"西山园科研楼消防泵站"]
[26,"西山园科研楼中央空调机房泵站"]
[27,"西山水库坝头管道增压泵","5.5KW管道增压泵（抽西山园自来水至坝头浇灌水池）",1]
[28,"西山园污水处理站"]
[29,"南门二期九节点污水提升泵站","3KW污水泵",2]
[30,"旧文工团污水提升泵站","3KW污水泵",2]
[31,"雨林喷雾1#、2#、3#号、4#机房","15KW，11KW，7.5KW高压活赛泵",8]
[32,"雨林后山消防泵站","7.5KW潜水泵",2]
[33,"九纹群绿地浇灌泵站","7.5KW潜水泵",2]
[34,"南山门引种训化区་机井","5.5KW深井泵",1]
[35,"西门景观循环水泵站","7.5KW潜水泵",2]
[36,"西门片区景观喷雾泵站","7.5KW潜水泵",2]
[37,"百花厅景观循环水泵站","15KW潜水泵",1]
[38,"百花厅阴棚景观循环水泵站","7.5KW潜水泵",1]
[39,"蔷薇园绿地浇灌增压泵","5.5KW潜水泵",1]
[40,"山茶园景观循环水泵站","5.5KW潜水泵",2]
[41,"姜目园景观循环水泵站","7.5KW潜水泵",2]
[42,"南洋杉草地喷灌泵站","5.5KW潜水泵",1]
[43,"松杉园景观池循环水泵","7.5KW潜水泵",2]
[44,"仙人掌区三馆景观循环水泵","3KW潜水泵",2]
[45,"藤本区公厕五老峰门岗增压泵","3KW增压泵",1]
[46,"南门一分配配电室电缆沟排水泵","1.1KW不锈钢潜水泵",2,92]

{"sheet":"植物园水池面积","index":2,"n_rows":47,"n_cols":4,"rows_kept":47,"merged":[[0,0,0,3],[2,3,45,3]]}
["植物园水池面积"]
["序号","名称","水池内参数（单位m）","水池外面积"]
[1,"文屏一级泵站水池","长：7.2      宽：3.9      高：2.8"]
[2,"十二乡二级泵站水池","长： 4.1     宽：3.1      高：2.6"]
[3,"西山自来水池（3和4同一个位置）","         φ10.5           高：3.5"]
[4,"西山消防水池（3和4同一个位置）","         φ10.5           高：3.5"]
[5,"成功大道桥下水池","长：2.8      宽：2.8      高：2.6"]
[6,"东门消防水池","长：9.45     宽：6.3      高：4"]
[7,"万寿一级泵站水池","长：5        宽：2.5      高：2.5"]
[8,"山茶园二级泵站水池*2","长：8.8      宽：3.3       高：4"]
[9,"文工团三级泵站水池*2","长：8.3、4.7  宽：4.7、4.3  高：4、4"]
[10,"西山水库坝头水水池","长：6        宽：4        高：3"]
[11,"索道泵站水池","长：7.8      宽：4.6      高：1.7"]
[12,"武装部自来水池*2","长：7.6      宽：4.6      高：2.7"]
[13,"武装部水库水水池（上）","长：7.6      宽：4.6      高：2.7"]
[14,"武装部水库水水池（下）","长：3.3      宽：2.9      高：1.7"]
[15,"办公室自来水水池","长：4.3      宽：3.5      高：2.7"]
[16,"半岭水库水水池","长：8.6      宽：7.5      高：2.9"]
[17,"雨林喷雾水池","长：7        宽：3.6      高：2.3"]
[18,"雨林喷雾水池（藤本入口）","长：9.1      宽：3.2      高：3.7"]
[19,"雨林后山消防水池","长：9.5      宽：7.5      高：2.5"]
[20,"鸿山消防水池","长：5.5      宽：4.4      高：2.8"]
[21,"五老峰消防水池（上）","长：3.1      宽：2.2      高：3"]
[22,"五老峰消防水池（下）","长：6.6      宽：5.6      高：2.2"]
[23,"九纹群消防水池","长：4.2      宽：4.2      高：2.2"]
[24,"粉碎场下面消防水池","长：9.2      宽：4.6      高：2.8"]
[25,"引种驯化自来水池","长：4        宽：2.5      高：3.4"]
[26,"引种驯化水库水池","长：4.1      宽：2.5      高：3.4"]
[27,"十二乡水库水水池","长：6.9      宽：4.2      高：2.6"]
[28,"十二乡路口自来水池（上）","长：13       宽：8        高：2.5"]
[29,"十二乡路口自来水池（下）","长：4        宽：3        高：2.5"]
[30,"东通道中水水池","长：11.8     宽：11.8     高：4"]
[31,"南门消防水池绿化水池（上）*2","长：16、8    宽：8、8     高：3.5、3.5"]
[32,"南门消防水池（下）","长：11.8     宽：11.8     高：4"]
[33,"南门中水水池","长：11.8     宽：1.8      高：4"]
[34,"南门一期消防水池","5.2x5x3.85+9.2x7.25x3.85"]
[35,"南门自来水水池（3个上）","2个：5x5x2；1个：（7x6+5x2）x3"]
[36,"南门自来水水池（下）","长：7.5      宽：4.5      高：2.5"]
[37,"南门绿化水水池*2","长：5        宽：5        高：2"]
[38,"新填地水库水水池（上）","长：10.05    宽：6.9      高：3.7"]
[39,"新填地水库水水池（下）","长：5.6      宽：5.6      高：2.9"]
[40,"烧烤营自来水水池（上）","长：8.9      宽：8.9      高：3.1"]
[41,"烧烤营自来水水池（下）","             φ5          高：2.2"]
[42,"梅海岭水库水水池","长：3        宽：3        高：2.8"]
[43,"梅海岭自来水水池","长：3        宽：3        高：2.8"]
[44,"东门自来水水池","长：3.9      宽：3.9      高：3.4"]
[45,"山茶园专用水池","长：4     宽：3.5      高：3"]